	Iron MCL Template

	IMPORTANT INFORMATION ABOUT YOUR DRINKING WATER

	Crystal Lawns Addition Improvement Association Has Levels of Iron Above State Drinking Water Standards

	Our water system recently violated a drinking water standard. Although this is not an emergency, as our customers, you have a right to know what happened, what you should do, and what we are doing to correct this situation.

	We routinely monitor for the presence of drinking water contaminants. Testing results we received on 4/24/25 show that our system exceeds the State standard, or maximum contaminant level (MCL), for Iron. The standard for Iron is 1.0 milligram per liter (mg/L). The average level of Iron over the last year was 1,150

	

	What should I do?

	· You do not need to use an alternative (e.g., bottled) water supply. However, if you have specific health concerns, consult your doctor.

	

	What does this mean?

	This is not an immediate risk. If it had been, you would have been notified immediately. 
Excessive iron in water may cause staining of laundry & plumbing fixtures & may accumulate as deposits in the distribution system.

	

	What happened? What is being done?

	Our Water Treatment Operator is reaching out to the EPA to see what we can do to resolve this problem We anticipate resolving the problem within hopefully 6-8 months

	For more information, please contact Brad Jackson at 779-435-9120.

	

	Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.

	This notice is being sent to you by Crystal Lawns Addition Improvement Association
	Water System ID#
	IL1975480
	Date distributed
	6/4/25
	

	
	
	


